## CLARIFICATIONS 11 04 2025
Question/ ANNEX/ # of LOT | CLARIFICATIONS
In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 10 the position 11, 14, 15 | The part/numbers below should be updated in following way: Position 11: P37647 should be changed to P37647-001; Position 14: P08719 to P08719-001; Position 15: P03798 to P03798-001
In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 7 the position "Virtualization" | The requirement of "MS System Center" is not mandatory and can be removed
In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 7 there is a question: How many disks should be used to get the required capacity of 210TB? | The exact number of disks to achieve the required capacity has not been specified in the requirements, so it is up to Applicant to decide. The final number will depend on factors such as the chosen disk size, RAID configuration, performance requirements, and future scalability considerations.
In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 8 there is a question: How many disks should be used to get the required capacity of 350TB?

## CLARIFICATIONS 18 04 2025
LOT # | Question/ ANNEX/ # of LOT | CLARIFICATIONS
LOT 1 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 1 relating Disk Drives: OS: 2 x 1TB SSD/NVMe in RAID1 - by a license VROC - SOFT Raid (server disks nominal value 960, 1920GB, if it is critical to satisfy exactly 1GB - write a comment and then will need to replace 960GB NVMe PCIe 4.0 M.2 to 1.9TB NVMe PCIe 4.0 M.2) | Two disk 960GB are ok
LOT 1 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 1 relating Disk Drives: Data: 200TB (expandable to 320TB) SSD/ NVMe after RAID 6: 15 pcs NVMe disks of 15.36TB = 199.68TB after RAID6 are installed as a base (if the difference of 0.32TB is critical, then will need to add another disk: => 16pcs NVMe disks of 15.36TB = 215.04TB RAID6) | Ok please add additional disk to comply with the required 200TB SSD/ NVMe after RAID 6
LOT 1 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 1 there is a question: Do you need SFP+ modules? If so, how many pieces? | Yes two SFP SR are needed.
LOT 2 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 2 there is a question: If it is the internal installation of disks that is required, then 2 pcs NVMe M.2, since the requirements do not specify that RAID is needed, then we consider that as two separate disks (if using an SSD with a hot-swap front panel is acceptable, then it will be cheaper to replace 480GB NVMe PCIe 4.0 M.2 with 240GB SATA 6Gb/s V6 2.5") | RAID 1 for redundancy. RAID is needed, no matter SSD or NVMe
LOT 2 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 2 there is a question: As for the SAN item: 2 x 8 Gb/s (redundant), should be compatible with 8 G SAN (short wave) - please specify, do you need 2 pcs of FC card or just one card, i.e. redundant are we talking about two ports? | 2 ports required
LOT 2 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 2 there is a question: Do you need SFP+ modules? If so, how many pieces? | Each port will need its own SFP+ module.
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question: Which GPUs you plan to use in the future will determine the choice of the server. | Currently, the model and type are not specified.
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question: As for the SAN item: 2 x 8 Gb/s (redundant), should be compatible with 8 G SAN (short wave) - please specify, do you need 2 pcs of FC card or just one card, i.e. redundant are we talking about two ports? | 2 ports required
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question (position CPU): XXX can offer more productive processors, which one would be the most acceptable? | The CPU requested contains 36 cores so we are interetsed in 36 or more core processor
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question (position Memory): Configuration options: 24x96GB - 1 option 32x64GB - 2 option, optimal. How critical is it that there are no expansion slots - at least 6 free slots available, since 6 slots do not fit the feature of modern Intel processors, a multiplicity of 2 must be observed, i.e. at least 8 slots are needed? | The requirement is to have 6 free slots or more, 24x96 option match the requirement
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question (position GPU support): How many slots, and what type (SW or DW) are needed for the GPU? | Requirement "at least 4 slots". 2 DW slots for the GPUs, which equals 4 physical slots in width on the chassis/motherboard
LOT 3 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 3 there is a question: Do you need SFP+ modules? If so, how many pieces? | Each port will need its own SFP+ module.
LOT 4 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 4 there is a question: As for the SAN item: 2 x 8 Gb/s (redundant), should be compatible with 8 G SAN (short wave) - please specify, do you need 2 pcs of FC card or just one card, i.e. redundant are we talking about two ports? | 2 ports required
LOT 4 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 4 there is a question: Formally, the "XXX" 2U server has support for installing up to 4 pcs of L40S, but if you plan to install 2 pcs of L40S now and 2 more pcs of L40S in the future, then there will be no free PCIe slots left for installing FC cards mentioned in position SAN. Therefore, the question is whether to do it formally or to actually have all the expansion slots available, then you will need to look for more expensive GPU servers with a large number of pcies | Please ensure at least two slots per GPU, as each card occupies a dual-slot width. Means a server hosting two NVIDIA L40S GPUs would need four adjacent PCIe slots to physically fit the GPUs, along with sufficient PCIe lanes and power delivery. 4 slots are required to install 2 GPU cards.
LOT 4 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 4 there is a question (position Memory): Configuration options: 24x96GB - 1 option 32 x 64GB - 2 option, optimal. How critical is it that there are no expansion slots - at least 6 free slots available, since 6 slots do not fit the feature of modern Intel processors, a multiplicity of 2 must be observed, i.e. at least 8 slots are needed? | The requirement is to have 6 free slots or more, 24x96 option match the requirement
LOT 4 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 4 there is a question (position GPU support): How many GPU slots are required and of what type: Single-Wide or Double-Wide? | Requirement "at least 4 slots". For installing 2x NVIDIA L40S, you need 2 DW slots for the GPUs, which equals 4 physical slots in width on the chassis/motherboard
LOT 4 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 4 there is a question: Do you need SFP+ modules? If so, how many pieces? | Each port will need its own SFP+ module.
LOT 5 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 5 there is a question: 4 NVMe/SSD disks were requested as storage, and the smart array p816i-a raid controller on which you can't assemble raid on NVMe disks. The question is, can we use SSD drives connected to the SAS interface, or when using the NVMe interface, can the RAID be assembled using VROC? | The requirement specifies “Smart Array P816i-a or similar (RAID 0/1/5/10/50)", which refers to the functional RAID capabilities, not a specific hardware model. If you decide to offer NVME disks please propose to using any hardware RAID controller that at least supports RAID 6 and RAID 10 for NVMe SSDs, in line with the stated requirement. We do not consider software RAID solutions such as Intel VROC or OS-based RAID.
LOT 5 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 5 there is a question: Do you need SFP+ modules? If so, how many pieces? | Each port will need its own SFP+ module.
LOT 6 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 6 there is a question: The cheapest option to meet the requirement in position "Data": Data: Minimum 16TB usable space using enterprise-grade 10K RPM HDDs (preferable) after RAID10 or enterprise-grade SSD/NVMe after RAID 6 and taking into account the other requirements in the current configuration: 7 pcs of 3.84 SSD = 19.2TB RAID6. Acceptable? | Yes
LOT 7 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 7 there is a question: For the correct calculation of the system (since each manufacturer has its own internal mechanisms for marking up disk space), we ask you to inform us about the requirements for useful capacity and type of stored data, for example: - what type of workloads (SQL DB, VMs, Files, etc.) and in what useful volume are they stored? - what is the minimum performance required for each type of load in IOPs? - what is the minimum latency allowed for each type of load in ms? - what is the annual growth in data volume for each load type in %? | Only the required minimum 210 TB RAW capacity needs to be met; performance, latency, and scalability are already clearly defined in the initial requirements and do not require further clarification.
LOT 7 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 7 the position "Virtualization" | The requirement of "MS System Center" is not mandatory and can be removed
LOT 7 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 7 there is a question: How many disks should be used to get the required capacity of 210TB? | The exact number of disks to achieve the required capacity has not been specified in the requirements, so it is up to Applicant to decide. The final number will depend on factors such as the chosen disk size, RAID configuration, performance requirements, and future scalability considerations.
LOT 8 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 8 there is a question: Is 350 TB raw or usable capacity? | The specified 350 TB is RAW capacity
LOT 8 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 8 there is a question (position Overall Storage capacity): For the correct calculation of the system (since each manufacturer has its own internal mechanisms for marking up disk space), we ask you to inform us about the requirements for useful capacity and type of stored data, for example: - what type of workloads (SQL DB, VMs, Files, etc.) and in what useful volume are they stored? - what is the minimum performance required for each type of load in IOPs? - what is the minimum latency allowed for each type of load in ms? - what is the annual growth in data volume for each load type in %? | Only the required minimum 210 TB RAW capacity needs to be met; performance, latency, and scalability are already clearly defined in the initial requirements and do not require further clarification.
LOT 8 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 8 there is a question: How many disks should be used to get the required capacity of 350TB? | The exact number of disks to achieve the required capacity has not been specified in the requirements, so it is up to Applicant to decide. The final number will depend on factors such as the chosen disk size, RAID configuration, performance requirements, and future scalability considerations.
LOT 9 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 9 there is a question: Please provide the serial numbers of the main equipment on which the upgrades will be performed | CZ223706NJ – 4 disks CZ223706NK – 4 disks
LOT 10 | In "ANNEX №3: Server and Storage System Equipment Specifications" in LOT 10 there is a question for positions 11, 14, 15 | The part/numbers below should be updated in following way: Position 11: P37647 should be changed to P37647-001; Position 14: P08719 to P08719-001; Position 15: P03798 to P03798-001